{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet 1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet 1","index":0,"n_rows":7,"n_cols":11,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
["Unique ID","Asset NO","Equipment Description","Noun","Modifier","Shortdesc","Longdesc","Attribute","Value","Mandatory","Sequence"]
["ADE097373","HP-FHR-001","HOSE REEL, FIRE FIGHTING, ADDL INFO: SYSTEM, MFR: BRISTOL","HOSE REEL","FIRE FIGHTING","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002,YEAR:2020","TYPE","AUTOMATIC SWINGING ARM","O","10"]
["ADE097373","HP-FHR-001","HOSE REEL, FIRE FIGHTING, ADDL INFO: SYSTEM, MFR: BRISTOL","HOSE REEL","FIRE FIGHTING","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002,YEAR:2020","FLOW RATING","56LPM","M","20"]
["ADE097373","HP-FHR-001","HOSE REEL, FIRE FIGHTING, ADDL INFO: SYSTEM, MFR: BRISTOL","HOSE REEL","FIRE FIGHTING","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002,YEAR:2020","HOSE SIZE","DIA 25MM X LG 30M","M","30"]
["ADE097373","HP-FHR-001","HOSE REEL, FIRE FIGHTING, ADDL INFO: SYSTEM, MFR: BRISTOL","HOSE REEL","FIRE FIGHTING","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002,YEAR:2020","PRESSURE RATING","1.2MPA","M","40"]
["ADE097373","HP-FHR-001","HOSE REEL, FIRE FIGHTING, ADDL INFO: SYSTEM, MFR: BRISTOL","HOSE REEL","FIRE FIGHTING","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002,YEAR:2020","REEL SIZE","DIA 23IN","O","50"]
["ADE097373","HP-FHR-001","HOSE REEL, FIRE FIGHTING, ADDL INFO: SYSTEM, MFR: BRISTOL","HOSE REEL","FIRE FIGHTING","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002","HOSE REEL,FIRE FIGHTING,TYPE:AUTOMATIC SWINGING ARM,FLOW RATING:56LPM,HOSE SIZE:DIA 25MM X LG 30M,PRESS RATING:1.2MPA,REEL SIZE:DIA 23IN,ADDL INFO:INSIDE THE CABINET,MFR:BRISTOL,MODEL:BF-AS-002,YEAR:2020","ADDITIONAL INFORMATION","INSIDE THE CABINET","O","60"]